## About
EoCtUH Efficiency of Conversion to Usable Heat
source: | Efficiency of Conversion to Usable Heat
Tsinghua University & International Agency
2018
District Energy Systems in China
no link
Zhongzheng Thermal Investment
2019
2019 Excellent Report on China's Urban Heating Industry
no link
note: | Obtain data directly from the literature

## summary
EoCtUH Efficiency of Conversion to Usable Heat
Source: | Usable Heat Efficiency | 电效率？电/其他能源比例？ | 2017年中国集中供暖各类热源覆盖面积占比 |  |  |  | 2019年？转化效率？
International Energy Agency
| 2014 | (elec-BTaDLP)*(elec-BHRbEF)*比例 | 燃煤热电联产 | 48% |  |  | 75%?
| CHP/DHC Country Scorecard: United States |  | 燃煤锅炉 | 33% |  |  | 65%
| http://www.iea.org/publications/insights/insightpublications/US_CountryScorecard_FINAL.pdf |  | 燃气锅炉 | 12% |  |  | 90%?
| Page 37, Table 2, Sub-table 4 | (elec-BTaDLP)*(elec-BHRbEF)*比例 | 燃气热电联产 | 3% |  |  | 90%?
|  |  | 地热 | 2%
| Heat Pump Efficiency (Coefficient of Peformance) | (elec-BTaDLP)*(elec-BHRbEF)*比例 | 电锅炉和点热泵 | 1%
| European Heat Pump Association |  | 工业余热 | 0.4%
| 2018 |  | 生物质 | 0.4%
| Large Scale Heat Pumps in Europe: 16 Examples of Realized Projects |  | 燃油 | 0.2%
| https://www.ehpa.org/fileadmin/red/03._Media/03.02_Studies_and_reports/Large_heat_pumps_in_Europe_MDN_II_final4_small.pdf |  | 末知 | 1% | ‘-1%？
|  |  | 热泵 | ？ |  |  | 300%
Note: |  |  | 中国目前的总建筑面积为573亿平方米左右，
Efficiencies are provided for CHP systems (and include usable heat and electricity). |  |  | 包括北方城市采暖地区大约130亿平方米的面积（清华大学建筑节能研究中心，2017）
We use these as a stand-in for the efficiencies of district heating systems |  |  | 北方采暖地区集中供暖管网覆盖的建筑面积为大约67亿平方米，
(about half of which are CHP systems), because we do not |  |  | 较小的县级和村级管网覆盖的面积估计还有18亿平方米（住建部，2015）。
have data specifically on efficiencies of district heating systems. |  |  | 随着城镇化的继续发展，预计到2050年时，中国的总建筑面积会再增加40%，达到超过800亿平方米（IEA，2017a）。
We don't have the efficiency of the total installed base, so we use |  |  | 北京
average the efficiencies of the available years' newly installed systems. |  |  | 北京冬季供热主要以天然气为主，天然气供热方式包括热电联产供热、燃气锅炉供热和燃气壁挂炉供热。截至2020年底，城镇地区供热面积共计8.95亿m2，其中热电联产供热面积23660万m2，燃气供热（含壁挂炉）供热面积61474万m2。
While this might be above-average (since many district heating systems |  |  | 天然气锅炉房供热系统热效率包括燃气锅炉热效率和热网管道输送热效率。《工业锅炉能效限定值及能效等级》(GB 24500-2020)规定，1级能效等级的燃气锅炉热效率不低于96%，2级能效等级的燃气锅炉热效率不低于94%。《城镇供热系统评价标准》(GB/T 50627-2010)规定，室外供热管网输送效率取值0.95，综合计算,燃气锅炉房供热系统整体热效率不小于89.3%。
are very old), these systems do not have a "lifetime" and thus must |  |  | 天然气壁挂炉供热系统热效率主要为燃气采暖炉热效率，《家用燃气快速热水器和燃气采暖热水炉能效限定值及能效等级》(GB20665-2015)规定：1级能效等级的燃气采暖炉热效率不低于95%，2级能效等级的燃气采暖炉热效率不低于85%，节能评价值要求能效等级达到2级。
receive periodic upgrades and replacement parts, so some of them may
have efficiencies comparable to newer systems. |  | DB11/T 1382－2022 | 表 7.2.5 空气源热泵供暖系统性能级别划分
|  |  | 分级 | 1 级 | 2 级 | 3 级
Heat Pump Representation and Electricity |  |  | 系统制热性能系数要求 | COPsysh≥2.8 | 2.8＞COPsysh≥2.4 | 2.4＞COPsysh≥2.0
Heat pumps are represented by using an efficiency greater than 1
for the "electricity" fuel type in this variable.

## Data
CHP overall efficiency (ratio)
2000 | 2006 | 2008 | 2009 | 2010 | 2011 | 2012 | 2020年全国能源平衡表
0.65 | 0.7 | 0.73 | 0.71 | 0.68 | 0.71 | 0.73 | 供热净投入 | 7202.87 | 万吨标煤
[7 empty] | 供热产出 | 20934.21 | 万吨标煤
Average of the years above | [6 empty] | 供热总投入 | 28137.08 | 万吨标煤
0.70143 | [6 empty] | 转化效率 | 0.74401
Heat Pumps
Project number | COP | Use
1 | 4.4 | district heating system
2 | 3.1 | district heating system
3 | 3.05 | district heating system
4 | 6.7 | paper factory
5 | 5.3 | district heating system
6 | 3.4 | district heating system
7 | 4.8 | university
8 | 6.8 | hospital
9 | 4.8 | concrete plant
10 | 4.9 | office building (ice storage)
11 | 5 | office building
12 | 4.4 | district heating system
13 | 3.4 | food processing
14 | 2 | district heating system
15 | 2.6 | university
16 | 4.5 | chipboard factory
Avgerage of all district heating system heat pumps | 3.6643
Heat generated by a heat pump is still lost in the distribution network, so the overall
efficiency of the heat pump systems is the COP multiplied by the efficiency ratio above.
Heat pump district heat final delivered efficiency | 3.6643

## EoCtUH
Efficiency (dimensionless)
electricity | 3.6643
coal | 0.74401
natural gas | 0.74401
biomass | 0.74401
petroleum diesel | 0.74401
heat | 0.74401
crude oil | 0.74401
heavy or residual fuel oil | 0.74401
LPG propane or butane | 0.74401
hydrogen | 0.74401