## About
BCpUC Battery Cost per Unit Capacity
BCpUC Battery Balance of System Cost per Unit Capacity
Sources: | Battery cost projections per kWh | China Historical Battery Cost
| Rocky Mountain Institute | 2021 Data
| 2014 | 北极星储能网
| The Economics of Grid Defection | 2021储能中标均价1.476元/Wh
http://www.rmi.org/electricity_grid_defection
| Page 61, First Table, "Li-ion Battery Capital Cost" | 2022 Data
储能与电力市场
| 2010 Battery Costs per kW | https://mp.weixin.qq.com/s/2dLCmA_6qSvE5v-GP6WXLg
Sandia National Laboratory
| 2013 | 2023H1 Data
| DOE/EPRI 2013 Electricity Storage Handbook in Collaboration with NRECA | 储能与电力市场
| http://www.sandia.gov/ess/publications/SAND2013-5131.pdf | 2023上半年储能盘点：储能系统和EPC价格全景分析
Page B-45, Table B-28
| Capital Costs | China Battery Cost Breakdown
| National Renewable Energy Laboratory | ESCN 2022
| 2021 | 大储 ~ P2：成本测算
Annual Technology Baseline
| https://atb.nrel.gov/ | BNEF 2020
| Utility-Scale Battery Storage tab, CAPEX, Moderate scenario | 新型储能系统成本分析
| Balance of System Costs | Wind & Weibo 2022
| National Renewable Energy Laboratory | 韦伯咨询：2023年中国储能行业专题调研与深度分析报告
2018
2018 U.S. Utility-Scale Photovoltaics Plus-Energy Storage System Costs Benchmark
| https://www.nrel.gov/docs/fy19osti/71714.pdf | Capital Cost Price Projections
| Page 12, Table 3 | BNEF 2020
韦伯咨询：2023年中国储能行业专题调研与深度分析报告
Note:
Used to calculate battery storage deployment. Only the first year of this time series |  | BNEF 2022
input variable is used, and the remaining years are handled via endogenous |  | 2022年储能系统成本调查_电力网 (chinapower.com.cn)
learning.
MIT Energy Storage for the Future
Balance of System |  | 2022
The "balance of system" should include all costs the utility must pay to purchase and |  | Chapoter 2, Page 19 (44), Table 2.1
install the battery system, apart from the batteries themselves (and apart from sales |  | The-Future-of-Energy-Storage.pdf (mit.edu)
tax on the batteries). This includes the inverter, labor, etc.
Only the battery cost is affected by endogenous learning. The "Balance of System"
costs are read directly from this variable and are not modified via endogenous learning
inside the simulator.
Currency Adjustment
We adjust currency using the following conversion factors:
1.055 | 2010 to 2012 USD
0.91433 | 2018 to 2012 USD
See "cpi.xlsx" in the InputData folder for source information.
Note on China:
The capital cost of Battery is projected from the BNEF in the near term for China,
and the low li-ion battery cost scenario of MIT's energy storage for the future is
used to estimate the cost of battery in 2050; the annualized rate of change is then used to calculate the annual cost

## Exchange Rate
Year | Current RMB / 2012 USD | 2012 USD / Current RMB | Current USD / 2012 USD
2000 | 0.26403 | 3.7875 | 1.3333
2001 | 0.25873 | 3.865 | 1.2964
2002 | 0.25718 | 3.8883 | 1.2762
2003 | 0.25066 | 3.9895 | 1.2478
2004 | 0.23436 | 4.2669 | 1.2154
2005 | 0.22556 | 4.4334 | 1.1756
2006 | 0.21704 | 4.6075 | 1.1389
2007 | 0.20143 | 4.9646 | 1.1073
2008 | 0.18686 | 5.3516 | 1.0664
2009 | 0.18725 | 5.3404 | 1.0702
2010 | 0.1752 | 5.7079 | 1.0529
2011 | 0.16211 | 6.1688 | 1.0207
2012 | 0.15841 | 6.3126 | 1
2013 | 0.15506 | 6.4492 | 0.98556
2014 | 0.15348 | 6.5157 | 0.96983
2015 | 0.15348 | 6.5155 | 0.96868
2016 | 0.15135 | 6.6072 | 0.95661
2017 | 0.1452 | 6.8868 | 0.93666
2018 | 0.14029 | 7.1279 | 0.91433
2019 | 0.13851 | 7.2196 | 0.89805
2020 | 0.13765 | 7.2648 | 0.88711
2021 | 0.13187 | 7.5831 | 0.8473
2022 | 0.12836 | 7.7905 | 0.78799

## NREL ATB
For 15-year life (values in 2019$):
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Techno-Economic Cost and Performance Parameters | CAPEX ($/kW) | 2Hr Battery Storage - Advanced | 853.4592 | 810.0348 | 743.8134 | 682.5698 | 621.3262 | 560.0826 | 498.839 | 467.2294 | 432.6564 | 401.0468 | 369.4372 | 336.8398 | 330.913 | 324.9862 | 317.0838 | 311.157 | 304.2424 | 296.34 | 290.4132 | 284.4864 | 278.5596 | 270.6572 | 264.7304 | 257.8158 | 251.889 | 243.9866 | 238.0598 | 232.133 | 226.2062 | 218.3038 | 212.377 | 205.4624
|  | 2Hr Battery Storage - Moderate | 853.4592 | 810.0348 | 763.3964 | 716.7579 | 670.1194 | 623.4809 | 576.8425 | 559.5765 | 542.3105 | 525.0444 | 507.7784 | 490.5124 | 485.2256 | 479.9387 | 474.6518 | 469.3649 | 464.078 | 458.7911 | 453.5043 | 448.2174 | 442.9305 | 437.6436 | 432.3567 | 427.0698 | 421.783 | 416.4961 | 411.2092 | 405.9223 | 400.6354 | 395.3485 | 390.0617 | 384.7748
|  | 2Hr Battery Storage - Conservative | 853.4592 | 810.0348 | 784.3132 | 760.606 | 739.8622 | 717.1428 | 694.4234 | 674.3711 | 654.3187 | 634.2664 | 614.214 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617 | 594.1617
|  | 4Hr Battery Storage - Advanced | 1434.2856 | 1363.2842 | 1249.567 | 1146.8358 | 1044.1046 | 941.3734 | 838.6422 | 785.301 | 727.0208 | 673.6796 | 620.3384 | 566.0094 | 556.1314 | 546.2534 | 532.4242 | 522.5462 | 511.6804 | 497.8512 | 487.9732 | 478.0952 | 468.2172 | 454.388 | 444.51 | 433.6442 | 423.7662 | 409.937 | 400.059 | 390.181 | 380.303 | 366.4738 | 356.5958 | 345.73
|  | 4Hr Battery Storage - Moderate | 1434.2856 | 1363.2842 | 1281.8131 | 1200.3419 | 1118.8707 | 1037.3996 | 955.9284 | 921.5615 | 887.1946 | 852.8276 | 818.4607 | 784.0938 | 774.2926 | 764.4915 | 754.6903 | 744.8891 | 735.088 | 725.2868 | 715.4856 | 705.6844 | 695.8833 | 686.0821 | 676.2809 | 666.4797 | 656.6786 | 646.8774 | 637.0762 | 627.2751 | 617.4739 | 607.6727 | 597.8715 | 588.0704
|  | 4Hr Battery Storage - Conservative | 1434.2856 | 1363.2842 | 1317.7252 | 1278.2132 | 1243.6402 | 1205.116 | 1166.5918 | 1129.4505 | 1092.3092 | 1055.168 | 1018.0267 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854 | 980.8854
|  | 6Hr Battery Storage - Advanced | 2015.112 | 1916.5336 | 1755.3206 | 1611.1018 | 1466.883 | 1322.6642 | 1178.4454 | 1103.3726 | 1021.3852 | 946.3124 | 871.2396 | 795.179 | 781.3498 | 767.5206 | 747.7646 | 733.9354 | 719.1184 | 699.3624 | 685.5332 | 671.704 | 657.8748 | 638.1188 | 624.2896 | 609.4726 | 595.6434 | 575.8874 | 562.0582 | 548.229 | 534.3998 | 514.6438 | 500.8146 | 485.9976
|  | 6Hr Battery Storage - Moderate | 2015.112 | 1916.5336 | 1800.2298 | 1683.9259 | 1567.622 | 1451.3182 | 1335.0143 | 1283.5465 | 1232.0787 | 1180.6108 | 1129.143 | 1077.6752 | 1063.3597 | 1049.0443 | 1034.7288 | 1020.4134 | 1006.0979 | 991.7824 | 977.467 | 963.1515 | 948.836 | 934.5206 | 920.2051 | 905.8897 | 891.5742 | 877.2587 | 862.9433 | 848.6278 | 834.3123 | 819.9969 | 805.6814 | 791.366
|  | 6Hr Battery Storage - Conservative | 2015.112 | 1916.5336 | 1851.1372 | 1795.8204 | 1747.4182 | 1693.0892 | 1638.7602 | 1584.53 | 1530.2998 | 1476.0695 | 1421.8393 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091 | 1367.6091
|  | 8Hr Battery Storage - Advanced | 2595.9384 | 2469.783 | 2261.0742 | 2075.3678 | 1889.6614 | 1703.955 | 1518.2486 | 1421.4442 | 1315.7496 | 1218.9452 | 1122.1408 | 1024.3486 | 1006.5682 | 988.7878 | 963.105 | 945.3246 | 926.5564 | 900.8736 | 883.0932 | 865.3128 | 847.5324 | 821.8496 | 804.0692 | 785.301 | 767.5206 | 741.8378 | 724.0574 | 706.277 | 688.4966 | 662.8138 | 645.0334 | 626.2652
|  | 8Hr Battery Storage - Moderate | 2595.9384 | 2469.783 | 2318.6465 | 2167.5099 | 2016.3734 | 1865.2368 | 1714.1003 | 1645.5315 | 1576.9628 | 1508.394 | 1439.8253 | 1371.2566 | 1352.4268 | 1333.5971 | 1314.7673 | 1295.9376 | 1277.1078 | 1258.2781 | 1239.4483 | 1220.6186 | 1201.7888 | 1182.9591 | 1164.1293 | 1145.2996 | 1126.4698 | 1107.6401 | 1088.8103 | 1069.9806 | 1051.1508 | 1032.3211 | 1013.4913 | 994.6616
|  | 8Hr Battery Storage - Conservative | 2595.9384 | 2469.783 | 2384.5492 | 2313.4276 | 2251.1962 | 2181.0624 | 2110.9286 | 2039.6094 | 1968.2903 | 1896.9711 | 1825.652 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328 | 1754.3328
|  | 10Hr Battery Storage - Advanced | 3176.7648 | 3023.0324 | 2766.8278 | 2539.6338 | 2312.4398 | 2085.2458 | 1858.0518 | 1739.5158 | 1610.114 | 1491.578 | 1373.042 | 1253.5182 | 1231.7866 | 1210.055 | 1178.4454 | 1156.7138 | 1133.9944 | 1102.3848 | 1080.6532 | 1058.9216 | 1037.19 | 1005.5804 | 983.8488 | 961.1294 | 939.3978 | 907.7882 | 886.0566 | 864.325 | 842.5934 | 810.9838 | 789.2522 | 766.5328
|  | 10Hr Battery Storage - Moderate | 3176.7648 | 3023.0324 | 2837.0632 | 2651.0939 | 2465.1247 | 2279.1554 | 2093.1862 | 2007.5165 | 1921.8469 | 1836.1772 | 1750.5076 | 1664.8379 | 1641.4939 | 1618.1499 | 1594.8058 | 1571.4618 | 1548.1177 | 1524.7737 | 1501.4297 | 1478.0856 | 1454.7416 | 1431.3975 | 1408.0535 | 1384.7095 | 1361.3654 | 1338.0214 | 1314.6774 | 1291.3333 | 1267.9893 | 1244.6452 | 1221.3012 | 1197.9572
|  | 10Hr Battery Storage - Conservative | 3176.7648 | 3023.0324 | 2917.9612 | 2831.0348 | 2754.9742 | 2669.0356 | 2583.097 | 2494.6889 | 2406.2808 | 2317.8727 | 2229.4646 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565 | 2141.0565

## China Historical Battery Cost
| 2021 | LiFePO4 Battery System (2022) | [5 empty] | LiFePO4 Battery System (2023H1) |  |  | system vs EPC price differnce |  |  | Average EPC Price excluding Battery System
| EPC Price |  | system cost (rmb/Wh) |  |  | EPC price |  |  | system cost (rmb/Wh) | EPC price |  |  |  | 0.30333 | 2022RMB/Wh
Average EPC Price excluding Battery Only
1hr system |  | 1.38 | 1.82 | 2.11 | 1.71 | 2.65 | 3.47 |  | 1.54 | 1.92 | 0.83 | 0.38 |  | 0.53926 | 2022RMB/Wh
2hr system |  | 1.3 | 1.57 | 2.26 | 1.47 | 1.81 | 2.59 |  | 1.24 | 1.61 | 0.24 | 0.37 |  | 138440.029 | 2012USD/MW
4hr system |  | 1.32 | 1.48 | 1.85 | 1.39 | 1.69 | 2.25 |  | 1.18 | 1.34 | 0.21 | 0.16
average | 1.475 | [12 empty] | Average Battery System Cost
[14 empty] | 2021 | 2022 | 2023
Difference from 2hr system | 119.5% | 106.2% | 115.9% | 93.36% | 116.3% | 146.4% | 134% |  | 124.2% | 119.3% |  |  | 2022RMB/Wh | 1.475 | 1.57 | 1.24
| 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | 100% | 100% |  |  | 2012USD/MW | 389025.2566 | 403054.4525 | 311332.6087
| 91.36% | 101.5% | 94.27% | 81.86% | 94.56% | 93.37% | 86.87% |  | 95.16% | 83.23%

## MIT Cost Projection
Tech |  | Discharging capital cost ($/kW) | Storage capital cost ($/kWh) | FOM ($/kW-year) | FOM ($/kWh-year) | Efficiency- charge (%) | Efficiency- discharge (%) | Self- discharge rate (%/month)
Li-ion | 2020 | 257 | 277 | 1.4 | 6.8 | 92% | 92% | 1.5
Li-ion | 2050 Low | 32 | 70.9 | 0.3 | 1.4 | 92% | 92% | 1.5
Li-ion | 2050 Mid | 110 | 125.8 | 0.8 | 2.2 | 92% | 92% | 1.5
Li-ion | 2050 High | 154 | 177 | 1.4 | 3.2 | 92% | 92% | 1.5
RFB | 2020 | 583–650 | 171 | 4.1 | 0 | 92% | 88% | 0
RFB | 2050 Low | 297 | 15.5 | 4.1 | 0 | 92% | 88% | 0
RFB | 2050 Mid | 396 | 48 | 4.1 | 0 | 92% | 88% | 0
RFB | 2050 High | 530 | 102.2 | 4.1 | 0 | 92% | 88% | 0
Metal-air | 2020 | 1,068–1,135 | 3.7 | 26.7–28.4 | 0.1 | 72% | 60% | 7.3
Metal-air | 2050 Low | 595 | 0.1 | 14.9 | 0 | 70% | 59% | 1.5
Metal-air | 2050 Mid | 643 | 2.4 | 16.1 | 0.1 | 73% | 63% | 1.5
Metal-air | 2050 High | 950 | 3.6 | 23.7 | 0.1 | 72% | 60% | 1.5
all costs are in 2021 USD, when converted to 2012 USD
Tech |  | Discharging capital cost ($/kW) | Storage capital cost ($/kWh) | FOM ($/kW-year)
Li-ion | 2020 | 217.7572 | 234.7032 | 1.1862
Li-ion | 2050 Low | 27.1137 | 60.0739 | 0.25419
Li-ion | 2050 Mid | 93.2035 | 106.5909 | 0.67784
Li-ion | 2050 High | 130.4848 | 149.9728 | 1.1862

## China Battery Cost Breakdown
|  | ESCN 2022 | Wind & Weibo 2022 |  |  |  | BNEF 2020
电池模组 | Battery | 70% | 67% | 68.5% | CAPEX | Battety | 50%
电池管理系统 | Battery Management System (BMS) | 6% | 9% | 7.5% |  | Battery System | 16%
储能逆变器 | Power Conversion System (PCS) | 6% | 10% | 8% |  | Installation | 17%
能量管理系统 | Energy Management System (EMS) | 3% | 2% | 2.5% |  | OM Cost | 5%
集装箱 | Container | 8% | 3% | 5.5% |  | Financing Cost | 12%
变压器 | Transfomer | 3% | 6% | 4.5%
安装等 | Installation | 4% | 3% | 3.5%
ESCN 2022 | 大储 ~ P2：成本测算
BNEF 2020 | 新型储能系统成本分析
Wind & Weibo 2022 | 韦伯咨询：2023年中国储能行业专题调研与深度分析报告

## BNEF Outlook
| China 2hr storage system | Global 4hr storage systen | Global 4hr storage system | China 2hr storage system | China 4hr storage system inferred | Global 4hr storage systen | Global 4hr storage system
Year | 2020RMB/Wh | 2020USD/KWh | 2022USD/KWh | 2012USD/KWh | 2012USD/KWh | 2012USD/KWh | 2012USD/KWh
2017 |  |  | 558 |  |  |  | 439.7
2018 |  |  | 387 |  |  |  | 304.9532
2019 | 1.95 | 333.7087 | 341 | 268.4188 |  | 296.0366 | 268.7056
2020 | 1.5 | 299.239 | 267 | 206.476 | 188.6303 | 265.4581 | 210.3941
2021 | 1.3 | 278.9107 | 256 | 178.9459 | 163.4796 | 247.4247 | 201.7262
2022 | 1.2 | 259.4663 | 324 | 165.1808 | 150.9042 | 230.1753 | 255.3097
2023 | 1.1 | 239.138 |  | 151.4157 | 138.3289 | 212.1419
2024 | 1 | 221.4612 |  | 137.6507 | 125.7535 | 196.4606
2025 | 0.9 | 209.0875 |  | 123.8856 | 113.1782 | 185.4837
2026 |  | 199.3653 |  |  |  | 176.8591
2027 |  | 188.7592 |  |  |  | 167.4503
2028 |  | 180.8047 |  |  |  | 160.3938
2029 |  | 174.6178 |  |  |  | 154.9053
2030 |  | 167.5471 |  |  |  | 148.6328
| BNEF 2020 | 韦伯咨询：2023年中国储能行业专题调研与深度分析报告
| BNEF 2022 | 2022年储能系统成本调查_电力网 (chinapower.com.cn)

## Balance of System Calculations
Table 3. Detailed Cost Breakdown for a 60-MW U.S. Li-ion Standalone Storage System with Durations of 0.5–4 Hours
| 60-MW, 4-hour Duration, 240-MWh |  |  | 60-MW, 2-hour Duration, 120-MWh |  |  | 60-MW, 1-hour Duration, 60-MWh |  |  | 60-MW, 0.5-hour Duration, 30-MWh
Model Component | Total Cost ($) | $/kWh | $/W | Total Cost | $/kWh | $/W | Total Cost | $/kWh | $/W | Total Cost | $/kWh | $/W
Li-ion battery | 50160000 | 209 | 0.84 | 25080000 | 209 | 0.42 | 12540000 | 209 | 0.21 | 6270000 | 209 | 0.1
Battery central inverter | 4200000 | 18 | 0.07 | 4200000 | 35 | 0.07 | 4200000 | 70 | 0.07 | 4200000 | 140 | 0.07
Structural BOS | 3121131 | 13 | 0.05 | 1813452 | 15 | 0.03 | 1159612 | 19 | 0.02 | 832692 | 28 | 0.01
Electrical BOS | 8602825 | 36 | 0.14 | 6119167 | 51 | 0.1 | 4877337 | 81 | 0.08 | 4256423 | 142 | 0.07
Installation labor & equipment | 5479149 | 23 | 0.09 | 4322275 | 36 | 0.07 | 3743838 | 62 | 0.06 | 3454619 | 115 | 0.06
EPC overhead | 2775545 | 12 | 0.05 | 1948565 | 16 | 0.03 | 1535075 | 26 | 0.03 | 1328330 | 44 | 0.02
Sales tax | 5293460 | 22 | 0.09 | 3083292 | 26 | 0.05 | 1978209 | 33 | 0.03 | 1425667 | 48 | 0.02
∑ EPC cost | 79632110 | 332 | 1.33 | 46566751 | 388 | 0.78 | 30034071 | 501 | 0.5 | 21767732 | 726 | 0.36
Land acquisition | 250000 | 1 | 0 | 250000 | 2 | 0 | 250000 | 4 | 0 | 250000 | 8 | 0
Permitting fee | 295289 | 1 | 0 | 295289 | 2 | 0 | 295289 | 5 | 0 | 295289 | 10 | 0
Interconnection fee | 1802363 | 8 | 0.03 | 1802363 | 15 | 0.03 | 1802363 | 30 | 0.03 | 1802363 | 60 | 0.03
Contingency | 2477135 | 10 | 0.04 | 1476303 | 12 | 0.02 | 975887 | 16 | 0.02 | 725679 | 24 | 0.01
Developer overhead | 2477135 | 10 | 0.04 | 1476303 | 12 | 0.02 | 975887 | 16 | 0.02 | 725679 | 24 | 0.01
EPC/developer net profit | 4346702 | 18 | 0.07 | 2593350 | 22 | 0.04 | 1716675 | 29 | 0.03 | 1278337 | 43 | 0.02
∑ Developer cost | 11648623 | 49 | 0.19 | 7893608 | 66 | 0.13 | 6016101 | 100 | 0.1 | 5077347 | 169 | 0.08
We use the largest (4-hour duration) for our estimate.
Balance of System (excl. sales tax) |  |  | 0.58 | 2018 $/W |  | 0.41 |  |  | 0.36 |  |  | 0.3
Sales tax on balance of system elements |  |  | 0.021273 | 2018 $/W |  | 0.016129 |  |  | 0.013421 |  |  | 0.012
Balance of System |  |  | 0.60127 | 2018 $/W |  | 0.42613 |  |  | 0.37342 |  |  | 0.312
Balance of System |  |  | 601272.7273 | 2018 $/MW |  | 426129.0323 |  |  | 373421.0526 |  |  | 312000
Balance of System |  |  | 549760.1044 | 2012 $/MW |  | 389621.4324 |  |  | 341429.0846 |  |  | 285270.1358
For the U.S. model, we assume the balance of system costs remain constant throughout the model run.
EPC Cost (exclude Battery) | 2018 $/W |  | 0.41127 |  |  | 0.29613 |  |  | 0.27342 |  |  | 0.232 | 0.30321
Non EPC Cost | 2018 $/W |  | 0.19 |  |  | 0.13 |  |  | 0.1 |  |  | 0.08 | 0.125
China EPC Cost (exclude Battery) | 2012 $/MW |  | 138440.029
China Balance of System Cost | 2012 $/MW |  | 195513.5057

## Cost per Unit Capacity Calc
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060
BNEF China | 268.4188 | 206.476 | 178.9459 | 165.1808 | 151.4157 | 137.6507 | 123.8856
MIT Li-Low | [31 empty] | 60.0739
China Capital Cost (2012USD/KWH) | 268.4188 | 206.476 | 178.9459 | 165.1808 | 151.4157 | 137.6507 | 123.8856 | 120.3504 | 116.916 | 113.5797 | 110.3385 | 107.1899 | 104.1311 | 101.1596 | 98.2729 | 95.4685 | 92.7442 | 90.0976 | 87.5266 | 85.0289 | 82.6025 | 80.2453 | 77.9554 | 75.7309 | 73.5698 | 71.4704 | 69.4309 | 67.4496 | 65.5248 | 63.655 | 61.8385 | 60.0739 | 58.3596 | 56.6942 | 55.0764 | 53.5047 | 51.9779 | 50.4946 | 49.0537 | 47.6539 | 46.294 | 44.973
China Capital Cost （2012USD/MW) | 536837.6442 | 412952.034 | 357891.7628 | 330361.6272 | 302831.4916 | 275301.356 | 247771.2204 | 240700.7523 | 233832.0491 | 227159.3531 | 220677.071 | 214379.7691 | 208262.1687 | 202319.1418 | 196545.7069 | 190937.0242 | 185488.3925 | 180195.2445 | 175053.1431 | 170057.7782 | 165204.9624 | 160490.628 | 155910.823 | 151461.7087 | 147139.5555 | 142940.7404 | 138861.7439 | 134899.1468 | 131049.6274 | 127309.959 | 123677.0068 | 120147.7256 | 116719.1569 | 113388.4267 | 110152.7432 | 107009.3941 | 103955.7444 | 100989.2346 | 98107.3778 | 95307.7586 | 92588.03 | 89945.9124

## BCpUC
Year | Battery Cost ($/MW)
2019 | 536837.6442
2020 | 412952.034
2021 | 357891.7628
2022 | 330361.6272
2023 | 302831.4916
2024 | 275301.356
2025 | 247771.2204
2026 | 240700.7523
2027 | 233832.0491
2028 | 227159.3531
2029 | 220677.071
2030 | 214379.7691
2031 | 208262.1687
2032 | 202319.1418
2033 | 196545.7069
2034 | 190937.0242
2035 | 185488.3925
2036 | 180195.2445
2037 | 175053.1431
2038 | 170057.7782
2039 | 165204.9624
2040 | 160490.628
2041 | 155910.823
2042 | 151461.7087
2043 | 147139.5555
2044 | 142940.7404
2045 | 138861.7439
2046 | 134899.1468
2047 | 131049.6274
2048 | 127309.959
2049 | 123677.0068
2050 | 120147.7256
2051 | 116719.1569
2052 | 113388.4267
2053 | 110152.7432
2054 | 107009.3941
2055 | 103955.7444
2056 | 100989.2346
2057 | 98107.3778
2058 | 95307.7586
2059 | 92588.03
2060 | 89945.9124

## BBoSCpUC
Unit: $/MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060
Balance of System | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057 | 195513.5057